## Slide 1: Genomics – Next-Gen sequencing and Microarrays
Overview
By Tim Lawrence

## Slide 2: Genomics Lab Team
Liam Williams
Tim Lawrence

## Slide 3: Accessing our services
Next-generation sequencing and microarray work is contracted through NZGL
These services are not able to be booked in iLab
  But our other equipment is bookable in iLab!

## Slide 4: What we offer (assistance)
A start to finish collaborative approach to assisting with your next-generation sequencing and microarray projects!
Project planning advice
  In conjunction with the Bioinformatics Institute team
Individualised training in using methods/equipment

## Slide 5: Our equipment platforms
Illumina MiSeq sequencer
Life Technologies Ion Torrent PGM sequencer
Affymetrix microarray wash station and scanner

## Slide 6: Sequencing types: Sanger vs next-gen
Sanger (capillary)
  Long reads
  Single samples
  Confirmation of next-gen results
Next-gen
  High throughput
  Multiplexed samples
  Short reads
  Large data output

## Slide 7: Common sample types
Genomic DNA
Amplicons (PCR products)
RNA
Small RNA / microRNA

## Slide 8: What we offer (services)
Library preparation for all platforms (including elsewhere via NZGL/overseas)
Sequencing on MiSeq and PGM
Sample labelling, hybridisation and scanning for Affymetrix microarrays

## Slide 9: What is a library?
Essentially:
Preparing a library = getting nucleic acids into the form required by the next-gen sequencer
Making it the right size
Adding adapters
Adding multiplex “barcodes”

## Slide 10: How does NGS work? (Illumina method)
Figure from gsejournal.org

## Slide 11: Multiplexing or “barcoding” samples
Figure from Illumina

## Slide 12: Paired-end sequencing
Figure from Illumina

## Slide 13: Capabilities: Ion Torrent PGM
DNA or RNA
100,000 – 5 Million reads
200 – 400 bp reads
Fast run time
Premade amplicon panels
Custom panels

## Slide 14: Common project types – PGM amplicon panels
Comprehensive Cancer Panel
Inherited disease
Community panels
Ion Ampliseq Designer
Custom Panels <5 Mb, <6144 amplicons

## Slide 15: Capabilities: Illumina MiSeq
DNA or RNA
10 Million-20 Million reads
50 bp – 300 bp Paired end reads
1-2 day run time
Whole Genome sequencing of small genomes
Amplicon sequencing
smallRNA

## Slide 16: Common project types - MiSeq
Identification of bacteria in complex samples
  Uses PCR to amplify 16S rRNA
  We do PCR addition of adapters and barcodes
  MiSeq run 2x250bp or 2x300bp
Sequencing small genomes
  We use specialised library prep kits optimised for your samples
  MiSeq run 2x250bp or 2x300bp

## Slide 17: MiSeq - Amplicon Preparation
High quality DNA
Accurate input quantification
Complete removal of primer
Balanced read numbers across samples
Mock community controls are available
Up to 384 samples per run
2-step PCR protocol allows any amplicon to be sequenced up to 500 bp

## Slide 18: MiSeq - Small Genomes
Up to 18 Bacterial Genomes per MiSeq run
High molecular weight gDNA
Sheared with Covaris m220 to 350 bp – 550 bp
Adapters and barcodes added by ligation
Optional PCR enrichment

## Slide 19: Next-gen Sample Prep Tips
High Quality
  High Molecular weight genomic DNA
  Clean Amplicons (use AMPureXP)
  Intact totalRNA
  RIN ≥ 7 if possible
Exceptions
  FFPE kits
  Specialised kits for low input and degraded samples

## Slide 20: Supporting equipment – QC/quant
Bioanalyzer
  DNA/RNA sizing, quantity and quality
Qubit fluorimeter
  DNA and RNA fluorometric quantification
NanoDrop spectrophotometer
  DNA and RNA spectrophotometric quantification
Bookable on iLab

## Slide 21: Supporting equipment
Covaris M220 sonicator
  DNA fragmentation
Robotic workstations: Biomek 4000, Eppendorf epMotion
  High-throughput liquid handling
Bookable on iLab

## Slide 22: Capabilities: Affymetrix microarrays
Gene expression (RNA or small RNA)
Defined probesets
Reproducible datasets
Total RNA input
Transcriptome Analysis Console (TAC) software

## Slide 23: Affymetrix – Gene expression
PrimeView
  530,000 probes, 36,000 transcripts
MiRNA v4.0
  30,000 probe sets

## Slide 24: Which platform is best?
Each platform has pros and cons
Discuss with us about which best suits your experimental outcomes
We work closely with the Bioinformatics Institute who can advise on experimental design