Emergency Procedures

# Emergency Contacts

Aggression (Physical/Verbal)

Obey Instructions - Keep Calm

- Remove yourself and others from immediate danger if safe to do so.

- Ensure the safety of staff, students and others.

- Keep a safe distance from person and note escape routes and try to get close to these

- Observe the aggressor for:
	 Physical features or clothing worn
	 Distinguishing features, voice or tattoos
	 Any weapons
	 Anything touched or taken
	 Escape route, vehicle.

- When able, Contact Police Dial 111 (if possible out of hearing or visual sight of person) giving exact location and details of events

  - If no phone, Use Campus Emergency Phone

  - Activate Panic alarm if installed

  - Notify UniSafe 966 or If using a mobile phone, dial 0800 373 7550

- State if incident involves Staff, Students, Visitors or others.

- State if Medical Assistance is required.

- Write down all you observed.

Trapped in Lift

#### If You Are Ever Trapped In an Lift

- Press the Emergency/Bell button.

- Use the elevator phone and ring the number displayed. (If for any reason the phone does not work, continue ringing the bell until someone outside the elevator has heard you).

- Remain calm.

- State which building and level you believe you are on or between

#### If You Observe a Malfunction From 
Outside an Elevator

- If you think someone may be trapped inside, Dial 966 to notify UniSafe.  
If using a mobile phone, dial 0800 373 7550

- If they can hear you, try to assure trapped person(s) that help is on the way.

- Do not attempt to open lift doors or release occupants yourself

- Should occupants suffer a medical condition while trapped contact Emergency Services - Fire Dial 111

Fire & Evacuation Procedures

If You See or Suspect a Fire

WARN and ALERT OCCUPANTS NEAR FIRE

REMOVE anyone in immediate danger.

ACTIVATE nearest Fire Alarm call point

DIAL 111 request Fire SERVICE

- GIVE exact location and type of fire (Speak Clearly, Stay Calm)

- Notify UniSafe dial ext 966 or 0800 373 7550

CONTAIN fire by closing doors, turn off machinery or processes (if it is safe to do so).

EXTINGUISH the fire (only if safe to do so, DO NOT put yourself at risk).

If the fire is uncontrollable – EVACUATE IMMEDIATELY!

On the sounding of the fire alarm:
Leave the building immediately by the nearest Escape Route and Indicated EXIT

- Lecturers are Responsible to ensure their Class is safely Evacuated the building and goes to the Assembly Area

- Relocate disabled persons who are unable to EXIT via stairs in a safe place and report location to Building Warden.

- Report to your designated assembly area.

- Do Not Re-Enter Building until the “All Clear” Instruction is given by either the Fire Service or Building Warden.

Armed Hold-Up/Robbery

Obey Instructions - Keep Calm - No Heroics

Do exactly as asked.

Avoid eye contact.

Observe:
	 Physical features 
	 Clothing worn
	 Distinguishing features including voice, hair, tattoos
	 Scars
	 Any weapons
	 Anything touched, or taken
	 Escape route, vehicle.

When safe, Dial 111 Request POLICE and state “Armed Hold-Up”, giving exact location and details of events.

Contact UniSafe DIAL 966 OR 0800 373 7550

Request all witnesses to remain.

Restrict entry to the area until Security Staff arrive.

Do not touch anything within the scene.

Write down all you observed.

Medical Emergency

Call out for the assistance of a first aider

Immediately Dial 111 for an Ambulance if person is experiencing a life threatening medical emergency

Contact UniSafe on 966 or dial 0800 373 7550

If you are trained or confident in First Aid, provide emergency assistance until the arrival of an ambulance or qualified medical expert.

Stay Calm, Stop and Think

Remember Patient Management Plan SRABCDS

Safety			   Check Safety for Self, bystanders and

patient(s)

Response	Check Response using voice and touch

Airway	Open and Clear the Airway

Breathing	Look, Listen and feel for Breathing or other signs of life

Compression	Give 30 Chest Compressions at approximately 100 per minute, then give 2 breaths

Defibrillation	Attach AED as soon as available.

Severe Bleeding	Check for Severe Bleeding

First Aider Contacts

AED Location

Nearest First Aid Kit

Suspect Parcel

BIOLOGICAL OR POWDERED SUBSTANCES

STOP What You Are Doing and Put the Item Down!

Do not smell, touch, taste, shake or empty contents of article or substance.

Place the envelope or package into a plastic bag or container

Turn off any equipment that could disturb air flow e.g. Fans or Air Conditioning.

Where there is a likelihood of contamination, stay where you found the article and step about 2 metres away.  This includes any people directly next to you.

Immediately Dial 111 REQUEST POLICE and state “Suspect Parcel”. Provide as much detail of the item as you can. Do not use a mobile phone in close proximity.

CONTACT uNIsAFE  Dial 966 OR  0800 373 7550

If anyone is contaminated, isolate the person and call for medical assistance.

If possible ask a co-worker who was not in the immediate area to notify the Manager or person in charge immediately who will arrange a temporary cordon of the area.

Do not allow co-workers into the isolation area unless it is an emergency situation.

Follow the instructions from your Manager, UNISAFE and EMERGENCY SERVICES

Suspicious Activity/Unauthorised Visitor or Media

Dial 966 and state “Suspicious Activity”, giving exact location and nature of problem. If using a mobile phone, dial 0800 373 7550.

Alert other staff.

Observe situation and report to Security Staff when they arrive.

UniSafe Security will alert Police if necessary.

Unauthorised Visitor

Dial 966 and request assistance from Security Staff if any problems arise with Visitors. 
If using a mobile phone, dial 0800 373 7550.

Unauthorised Media

1. DO NOT give information or be engaged in conversation.

2. Advise the University Communication Manager.

3.  If necessary, dial 966 state “UNAUTHORISED Media” to request assistance from 
UniSafe Security. If using a mobile phone, dial 0800 373 7550

IF PERSON BECOME AGGRESSIVE OR A THREAT IMMEDIATELY CALL POLICE

Flooding/Storm/Gale Force Wind

Remove Anyone From Immediate Danger If Safe To Do So

Flooding

If the building is in danger of being flooded, evacuate all staff, students and visitors to a safe area unaffected by flooding. Otherwise, do not evacuate unless instructed by your Building Warden, UniSafe or Emergency Services.

Dial 111 request FIRE SERVICE where life threatening situation exists

Dial 966 and state “Flooding”. State flooding locale and location of evacuees. 
If using a mobile phone, dial 0800 373 7550

Switch off any electrical equipment and gas that could be affected by water.

Move any chemicals, documents, equipment and valuables to a safe area if time.

Storm/Gale Force Wind

- Move all people away from windows.

- Close all curtains, drapes and blinds.

- Shelter in strongest part of building (e.g. Central Corridors).

- Clear large areas with glass atriums or glass roofs.

- Stay inside.

- Dial 966 and state “Storm Damage” including location and nature of injuries.  
If using a mobile phone, dial 0800 373 7550

- Monitor Radio Stations for information (refer to front cover for stations)

Earthquake

During An Earthquake

Remove Anyone From Immediate Danger If Safe To Do So

If Inside
1. Stay inside. 
2. Don’t use lifts or stairs.
3. Take shelter in doorways, under desks, or down beside an internal wall. Drop Cover Hold
4. Stay clear of large areas with glass atriums or glass roofs. 
5. Keep away from windows or objects that could fall on you.

If Outside
1. Stay outside.
2. Take shelter clear of buildings, trees, power lines or other potential hazards.

When the Earthquake Stops

- Check for signs of Fire, Electrical, Hazardous Material Spill or Major Structural Damage.

- Account for all staff, students and visitors if possible. Treat any minor injuries.

- Do not evacuate unless area is immediately threatened or instructed to do so.  
Do Not Use Lifts – Use Stairwells.

- Await instructions. If telephones are working DO NOT contact UniSafe unless immediate assistance is required.

- Close all smoke stop doors in your area.

- Access First Aid Kits and Building Civil Defence Cabinet	Nearest Civil Defence Cabinet _______________________

- Listen to the radio for information and advice (refer to front cover for stations)

– Expect After Shocks –

Hostages

1. Ensure personal safety. Do not become a hostage yourself.

2. If possible immediately Dial 111 request Police and state “Hostage”, giving exact location and details of events.

If possible contact UniSafe 966. If using a mobile phone, dial 0800 373-7550.

3. Secure immediate area. Close doors.

4. Observe:
	 Number of persons taken
	 Number and description of captors
	 Any weapon.

5. Document any threats or demands if possible.

6. Request all witnesses to remain until police arrive and speak to them.

7. Restrict entry to area until Security Staff arrive.

8. Do not speak to media.

Becoming a Hostage

1. Follow the captors instructions.

2. Speak only when spoken to.

3. Be as calm as possible, as the captor may use your emotions to his/her advantage.

4. Sit down if possible, to avoid appearing aggressive.

5. Do not make any suggestions to the hostage-taker.

Sexual Assault

If You Are a Victim of a Sexual Assault

Get to a safe place.

Call out for help.

Dial 111 request Police or ask someone to ring for you and state “Sexual Assault” giving exact location.

Contact UniSafe, Staff who will respond immediately 24 hours a day and will arrange any emergency and medical help needed.

- If using a mobile phone, dial 0800 373 7550

- OR EXTENSION  966  Internal Phone

Do not delay reporting an incident.

If You Witness a Sexual Assault

Everyone is asked to assist in making the campus a safe place by being alert to suspicious situations and promptly reporting them.

If person is harmed or incident is in progress immediately contact Police Dial 111

Immediately Dial 966 to notify UniSafe Security to report the incident (If using a mobile phone, dial 0800 373 7550, including the following:
		 Nature of the incident 
		 Location of the incident 
		 Description of person(s) involved 
		 Description of property involved.

Follow the instructions of UniSafe Security Staff.

Stay with victim, providing comfort and support until UniSafe Security Staff arrive.

If person is harmed or incident is in progress immediately contact Police Dial 111

Gas Leak

If it is a gas leak, do not use mobile phones, hand held radios, electronic equipment or light flammable material in immediate vicinity!

- If you discover a serious Gas Leak, warn those nearby!

- Activate gas valve shut off procedure if operating in a Laboratory / Workshop

- If safe to do so, turn off the ventilation, machinery and ensure that naked flames are extinguished and check that the nearest gas isolator switch is off.

- Remove & Evacuate occupants from immediate area

- Contact Fire Service Dial 111

- Activate The Buildings Fire Alarm – Use Manual Call Point

- Assign a person to meet arriving Fire Service / Inform Building Warden

- Evacuate the building immediately, avoiding the area of contamination as best as possible, close doors.

  - Assemble 300 metres upwind of contaminated area.

  - Follow Instructions of Fire Service, Building Warden and UniSafe

- After you have evacuated the area, in a safe area Dial 966 or dial 0800 373 7550 from a landline and state “Gas Leak” giving exact location and type of material involved. UniSafe Staff will respond immediately 24 hours a day and will arrange any emergency/medical help needed

- Ensure all occupants switch off phone and do not smoke within danger zone.

- Do not re-enter building or area until you have received "ALL CLEAR" instruction from Building Warden or Fire Service

Power Outage

During Power Outage

Remain Calm; provide assistance to others if necessary.

Locate torches & check immediate area for fire or cause of outage within building

Cease all work, switch off appliances and machinery

Report the outage, call Property Services Maintenance Helpdesk on Extn 87925, or, if after hours, call Security Services on Extn 966.

Campus-wide telephone communications may be disrupted during such events. Runners may be dispatched to inform occupants.

If evacuation is necessary, move cautiously. Lighted signs will indicate EXITS where available

Emergency Lighting will remain on in corridors and in emergency exits for 30 - 90 minutes. Partial or complete evacuation of complex should be considered prior to this time.

Ensure someone remains with any disabled persons who become stranded as a result of the outage. If emergency assistance is required, call UniSafe Security on Extn 966 and state “Power Outage” or mobile dial 0800 373 7550

Passengers stranded in lifts will be able to communicate with the Lift Company direct from the lift car during an outage.

In labs, specific protocol and procedures will operate during a power outage. Ensure you are aware of these requirements.

Keep all refrigerators and freezers closed during an outage.

Important Notices

Treat all electrical equipment as live, as power may be restored at any time without notice.

Outage times are difficult to predict depending on the cause. This may take some time to identify. The Property Services Maintenance Helpdesk (or UniSafe Security after hours) will be given as much information as possible, as soon as possible following an outage.

Building access controls will continue to operate for a limited time after which doors will automatically release and a manual lockdown will be undertaken by UniSafe Security.

Bomb Threat

Do Not Use A Mobile Phone or Set Off the Fire Alarms. 
They May Trigger an Explosion

Keep Calm – Treat As Genuine

There are two types of Bomb Threats:

1.	Specific
Information/location will be given about the device, or a suspicious item and/or location.

Specific Threat - On a landline Dial 966, state you have received a 
“Specific Bomb Threat”. If possible recall exact wording of threat.

2.	Non-Specific
No information given other than e.g. “There is a Bomb in the Building”.

If possible ask and record answers to:

| Where is the bomb? What time will it explode? What does it look like? | What will cause it to explode? What kind of bomb is it? Why did you place the bomb? |
| --- | --- |

Note anything about the caller:

| Age, Sex, Race Speech | Accent Background noise |
| --- | --- |

Non-Specific Threat - On a landline Dial 966, state you have received a 
“Non-Specific Bomb Threat”.

If a suspicious object or area is found – LEAVE IT AS IT IS.

Dial 966 and provide as many details as you can. Evacuate the area, leave doors and windows open.

Suspected Mail Bomb

Do not open or cut strings
If already lifted, gently lower to a level surface, otherwise leave as it is
Evacuate immediate area to a safe area
Leave doors and windows open
On Landline Dial 966 and state “Mail Bomb” giving exact location and details

Hazardous Materials Alert

If it is a gas or a hazardous material, electronic equipment or light flammable material within proximity of area!

If the release of a hazardous chemical or gas is affecting people in your area, immediately:

1. REMOVE anyone in immediate danger only if safe to do so. DO NOT allow other people in the area. If anyone is contaminated, set up an isolation area. If available and only if it is safe to do so, put on personal protective equipment, observe and support the person until Emergency Services arrive. DO NOT put yourself at risk.

2. ISOLATE the hazardous material by clearing the area, close the doors. If safe to do so turn off isolator switches, ventilation & machinery. DO NOT touch suspect material.

3. ACTIVATE
If it is a “Gas” or “Hazardous Material Alert”, shout a warning, pass the alarm by word of mouth in immediate area

Where threat is considered serious Immediately contact Fire Service Dial 111, give exact location and type of material involved

- Direct someone to meet with Fire Service

- Contact UniSafe on 966 or dial 0800 373 7550

Only Activate Fire Alarm for complete evacuation of building where life threatening situation exists or on instruction from Fire Service

Occupants should evacuate upwind or to high ground of area (follow instructions of Fire Service and Building & Floor Wardens)

4. CONTAIN
	 Don’t risk contact with material or allow spread.
	 Do not smell, touch, or taste.
	 Close doors between you and the hazardous material.

Information on the management of minor chemical/hazardous material spills or releases can be found on Material Safety Data Sheets contained in the Department and on Chemgold at

- Building Wardens will have Hazard Location Plans for the Emergency Services.

- Lab managers or Persons in Charge and any person who can provide relevant information MUST be on hand to answer any questions asked by Emergency Services.

- Do not re-enter building until given “ALL CLEAR” from Fire Service or Building Warden

Departmental Contact(s):

Name: 		Extn: 		Mobile:

Name: 		Extn:		Mobile:

Spill Kit Location

Active Shooter

Active Shooter outside of Building

- If you are in a class room, dorm or office, stay there and secure door.

- Use furniture or a wedge if door is unable to be locked

- Stay clear of windows, cover windows in doors, Turn off lights

- Stay low on floor or under or behind solid furniture and walls

- Assess alternative means of escape e.g. windows

- Stay quiet

- Dial 111, Request Police – Note your location, number of people in room

- Remain in place until you receive all clear from Police

- Do not respond to unfamiliar voices as shooter may be trying to lure people out. Confirm that it is a police officer before responding.

- Follow Police Instructions when they have arrived on scene and

- Do not carry bags or any other personal items. Leave hands free and showing.

If you are in open areas of Campus

- Be alert & take shelter behind solid objects where bullets will not penetrate  e.g. cars, walls, trees

- Remain out of view.

- Follow police instructions, keep hands visible

After Active shooter has left room / building / campus

- Where possible make phone contact with Police

- Follow Police instructions

- Keep hands visible and do not carry bags or other items

Safe Evacuation of People with Disabilities

During an Evacuation

For Assisting a Disabled Person with mobility issues

- Relocate the person with a disability to a safe area; this is generally an EXIT stairwell if safe to do so.

  - Allow Stairwell to become free of evacuating occupants prior to entering lobby

- Ensure all smoke stop doors are closed.

- Report location of the person to the Floor Warden or other evacuating staff.

- Floor Warden to report location of the person to the Building Warden and Fire Service.

- Find a buddy to stay with the person and/or ensure mobile phone communication.

- If required, wait for the Fire Service Officers to come and assist.

- If person is able to EXIT via stairwell even slowly do proceed. Provide support. Step aside if more people are encountered behind you

For a Disabled Person with mobility issues

- If you are able, go to a safe area, this is generally a stairwell if safe to do so.

- Ensure that you close all doors.

- Make sure that your Floor Warden knows of your presence and location.

- Floor Warden to report your location to the Building Warden and Fire Service.

- If possible keep a buddy with you or have a mobile phone for communication.

- If required, wait for the Fire Service Officers to come and assist you. Dial 111 or UniSafe if alone.

After an Evacuation

Review your personal safety plan. Ensure that the Building and Floor Warden and other staff members who work with you are fully informed of the assistance needed. Have your name entered on the Assistance Register

Further information on Evacuation of People with Disabilities can be found on the Health and Safety Intranet under Fire Safety and Evacuations.

# Text boxes

In a civil defence emergency, radio is a key means of communication to receive vital information

The following radio stations should be tuned into.

National Radio.............FM 101.4 OR AM 756 
Newstalk ZB...............FM 89.4 
Classic Hits.................FM 97.4 
MoreFM.......................FM 91.8 
Radio Live...................FM 100.6 OR AM 702

As soon as possible, Dial 966 to inform Security of your location.

If using a mobile phone, Dial 0800 373 7550

111

UNISAFE SECURITY   EMERGENCIES ONLY

DIAL 966 internal phone extension

0800 373 7550 (external)

Ambulance

Fire

Police

Emergency Services

On Campus Emergency Contacts

HEALTHLINE

0800 611 116

Poisons Information Centre

0800 POISONS

0800 764 766

Traffic Issues

*555

RESCUE COORDINATION CENTRE

0508 472 269

Contact Emergency Services for All Life Threatening Situations Dial 111

UniSafe Staff are on site 24 hours and will respond immediately to assist and arrange any emergency or medical assistance required. For further information see the University’s emergency website

Note: if your enquiry is not an emergency, dial UniSafe on 85000 (internal) or 0800 3737550 (external)

Emergency / Medical Resources Location

First Aider Contact                                             First Aid Kit                                                     First Aid Room

Defibrillator Location                                         Civil Defence Cabinet

Building Address

University of Auckland

Street Address

building level

Campus

In a civil defence emergency, radio is a key means of communication to receive vital information

The following radio stations should be tuned into.

National Radio.............FM 101.4 OR AM 756 
Newstalk ZB...............FM 89.4 
Classic Hits.................FM 97.4 
MoreFM.......................FM 91.8 
Radio Live...................FM 100.6 OR AM 702